## Slide 1: Gas Temperatures
Maximal temperature 1108 °C in 55 min.

## Slide 2
Isotherms 300 mm below Ceiling

## Slide 3
Isotherms 300 mm below Ceiling

## Slide 4
Isotherms 300 mm below Ceiling

## Slide 5
Isotherms 300 mm below Ceiling

## Slide 6
Isotherms 300 mm below Ceiling

## Slide 7
Heating Phase

## Slide 8
Heating Phase

## Slide 9
Heating Phase

## Slide 10
Heating Phase

## Slide 11
Heating Phase

## Slide 12
Heating Phase

## Slide 13
Heating Phase

## Slide 14
Heating Phase

## Slide 15
Heating Phase

## Slide 25
Maximal Temperature

## Slide 26
Maximal Temperature

## Slide 27
Maximal Temperature

## Slide 28
Maximal Temperature

## Slide 36
Cooling Phase

## Slide 37
Cooling Phase

## Slide 38
Cooling Phase

## Slide 39
Cooling Phase

## Slide 40
Cooling Phase

## Slide 41
Cooling Phase

## Slide 42
Cooling Phase

## Slide 43
Heating Phase
difference
in front and back
178 °C
Cooling Phase
difference
in front and back
134 °C
Maximum Temperature
difference
in front and back
194 °C

## Slide 44: Prediction of Gas Temperature
Measured 1108 °C in 55 min. predicted 1078 °C in 53 min.