{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["List1"],"not_rendered":{"charts":1,"images":2,"macros":1,"external_links":0,"defined_names":7,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"List1","index":0,"n_rows":12,"n_cols":132,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
["vynuluj = ",false]
["d = ",0.63]
["Δx =",{"$f":"B2/126","v":5.0000000000000001E-3}]
["Δt =",0.01,null,null,"povrch 1",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"povrch 2"]
["lambda =",1.3,null,"Počáteční teplota",40,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20]
["c =",1000,null,"i - tá iterace",40,{"$f":"IF(start,F5,F10)","v":37.324643877242707},32.275158287414548,{"$f":"IF(start,H5,H10)","v":28.027378034145158},24.833548078448057,22.67864677795739,21.367622547922451,20.644605798415853,20.28122247222597,20.113903619388587,20.042965906916567,20.015141913574336,20.005000888552857,20.001552421131993,20.000454244642746,20.000125614643633,20.000032911091584,20.000008188561672,20.000001939015519,20.00000043787005,20.000000094476132,20.000000019510917,20.000000003862933,20.000000000734261,20.000000000134108,20.000000000023569,20.000000000004263,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,{"$f":"IF(start,BT5,BT10)","v":20},20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,{"$f":"IF(start,EA5,EA10)","v":20},20]
["Rho =",2200,null,"tok zleva",null,{"$f":"(E6-F6)*λ/(Δx/2)","v":1391.1851838337923},{"$f":"(F6-G6)*λ/Δx","v":1312.8662533553213},{"$f":"(G6-H6)*λ/Δx","v":1104.4228658500413},{"$f":"(H6-I6)*λ/Δx","v":830.39578848124631},{"$f":"(I6-J6)*λ/Δx","v":560.27433812757351},{"$f":"(J6-K6)*λ/Δx","v":340.86629980908396},{"$f":"(K6-L6)*λ/Δx","v":187.9843548717156},{"$f":"(L6-M6)*λ/Δx","v":94.479664809369552},{"$f":"(M6-N6)*λ/Δx","v":43.502901737719526},{"$f":"(N6-O6)*λ/Δx","v":18.443805242725162},{"$f":"(O6-P6)*λ/Δx","v":7.2342382689801354},{"$f":"(P6-Q6)*λ/Δx","v":2.6366665055845573},{"$f":"(Q6-R6)*λ/Δx","v":0.89660152942450111},{"$f":"(R6-S6)*λ/Δx","v":0.28552588720422989},{"$f":"(S6-T6)*λ/Δx","v":8.5443799769606699E-2},{"$f":"(T6-U6)*λ/Δx","v":2.4102923532751674E-2},{"$f":"(U6-V6)*λ/Δx","v":6.4278577769272269E-3},{"$f":"(V6-W6)*λ/Δx","v":1.6248819999020725E-3},{"$f":"(W6-X6)*λ/Δx","v":3.9029782200827873E-4},{"$f":"(X6-Y6)*λ/Δx","v":8.9282418613834125E-5},{"$f":"(Y6-Z6)*λ/Δx","v":1.9490955764922546E-5},{"$f":"(Z6-AA6)*λ/Δx","v":4.0684759028408735E-6},{"$f":"(AA6-AB6)*λ/Δx","v":8.1345483238237659E-7},{"$f":"(AB6-AC6)*λ/Δx","v":1.5603973224642687E-7},{"$f":"(AC6-AD6)*λ/Δx","v":2.8740174684571688E-8},{"$f":"(AD6-AE6)*λ/Δx","v":5.0194159939564997E-9},{"$f":"(AE6-AF6)*λ/Δx","v":1.1084466677857563E-9},{"$f":"(AF6-AG6)*λ/Δx","v":0},{"$f":"(AG6-AH6)*λ/Δx","v":0},{"$f":"(AH6-AI6)*λ/Δx","v":0},{"$f":"(AI6-AJ6)*λ/Δx","v":0},{"$f":"(AJ6-AK6)*λ/Δx","v":0},{"$f":"(AK6-AL6)*λ/Δx","v":0},{"$f":"(AL6-AM6)*λ/Δx","v":0},{"$f":"(AM6-AN6)*λ/Δx","v":0},{"$f":"(AN6-AO6)*λ/Δx","v":0},{"$f":"(AO6-AP6)*λ/Δx","v":0},{"$f":"(AP6-AQ6)*λ/Δx","v":0},{"$f":"(AQ6-AR6)*λ/Δx","v":0},{"$f":"(AR6-AS6)*λ/Δx","v":0},{"$f":"(AS6-AT6)*λ/Δx","v":0},{"$f":"(AT6-AU6)*λ/Δx","v":0},{"$f":"(AU6-AV6)*λ/Δx","v":0},{"$f":"(AV6-AW6)*λ/Δx","v":0},{"$f":"(AW6-AX6)*λ/Δx","v":0},{"$f":"(AX6-AY6)*λ/Δx","v":0},{"$f":"(AY6-AZ6)*λ/Δx","v":0},{"$f":"(AZ6-BA6)*λ/Δx","v":0},{"$f":"(BA6-BB6)*λ/Δx","v":0},{"$f":"(BB6-BC6)*λ/Δx","v":0},{"$f":"(BC6-BD6)*λ/Δx","v":0},{"$f":"(BD6-BE6)*λ/Δx","v":0},{"$f":"(BE6-BF6)*λ/Δx","v":0},{"$f":"(BF6-BG6)*λ/Δx","v":0},{"$f":"(BG6-BH6)*λ/Δx","v":0},{"$f":"(BH6-BI6)*λ/Δx","v":0},{"$f":"(BI6-BJ6)*λ/Δx","v":0},{"$f":"(BJ6-BK6)*λ/Δx","v":0},{"$f":"(BK6-BL6)*λ/Δx","v":0},{"$f":"(BL6-BM6)*λ/Δx","v":0},{"$f":"(BM6-BN6)*λ/Δx","v":0},{"$f":"(BN6-BO6)*λ/Δx","v":0},{"$f":"(BO6-BP6)*λ/Δx","v":0},{"$f":"(BP6-BQ6)*λ/Δx","v":0},{"$f":"(BQ6-BR6)*λ/Δx","v":0},{"$f":"(BR6-BS6)*λ/Δx","v":0},{"$f":"(BS6-BT6)*λ/Δx","v":0},{"$f":"(BT6-BU6)*λ/Δx","v":0},{"$f":"(BU6-BV6)*λ/Δx","v":0},{"$f":"(BV6-BW6)*λ/Δx","v":0},{"$f":"(BW6-BX6)*λ/Δx","v":0},{"$f":"(BX6-BY6)*λ/Δx","v":0},{"$f":"(BY6-BZ6)*λ/Δx","v":0},{"$f":"(BZ6-CA6)*λ/Δx","v":0},{"$f":"(CA6-CB6)*λ/Δx","v":0},{"$f":"(CB6-CC6)*λ/Δx","v":0},{"$f":"(CC6-CD6)*λ/Δx","v":0},{"$f":"(CD6-CE6)*λ/Δx","v":0},{"$f":"(CE6-CF6)*λ/Δx","v":0},{"$f":"(CF6-CG6)*λ/Δx","v":0},{"$f":"(CG6-CH6)*λ/Δx","v":0},{"$f":"(CH6-CI6)*λ/Δx","v":0},{"$f":"(CI6-CJ6)*λ/Δx","v":0},{"$f":"(CJ6-CK6)*λ/Δx","v":0},{"$f":"(CK6-CL6)*λ/Δx","v":0},{"$f":"(CL6-CM6)*λ/Δx","v":0},{"$f":"(CM6-CN6)*λ/Δx","v":0},{"$f":"(CN6-CO6)*λ/Δx","v":0},{"$f":"(CO6-CP6)*λ/Δx","v":0},{"$f":"(CP6-CQ6)*λ/Δx","v":0},{"$f":"(CQ6-CR6)*λ/Δx","v":0},{"$f":"(CR6-CS6)*λ/Δx","v":0},{"$f":"(CS6-CT6)*λ/Δx","v":0},{"$f":"(CT6-CU6)*λ/Δx","v":0},{"$f":"(CU6-CV6)*λ/Δx","v":0},{"$f":"(CV6-CW6)*λ/Δx","v":0},{"$f":"(CW6-CX6)*λ/Δx","v":0},{"$f":"(CX6-CY6)*λ/Δx","v":0},{"$f":"(CY6-CZ6)*λ/Δx","v":0},{"$f":"(CZ6-DA6)*λ/Δx","v":0},{"$f":"(DA6-DB6)*λ/Δx","v":0},{"$f":"(DB6-DC6)*λ/Δx","v":0},{"$f":"(DC6-DD6)*λ/Δx","v":0},{"$f":"(DD6-DE6)*λ/Δx","v":0},{"$f":"(DE6-DF6)*λ/Δx","v":0},{"$f":"(DF6-DG6)*λ/Δx","v":0},{"$f":"(DG6-DH6)*λ/Δx","v":0},{"$f":"(DH6-DI6)*λ/Δx","v":0},{"$f":"(DI6-DJ6)*λ/Δx","v":0},{"$f":"(DJ6-DK6)*λ/Δx","v":0},{"$f":"(DK6-DL6)*λ/Δx","v":0},{"$f":"(DL6-DM6)*λ/Δx","v":0},{"$f":"(DM6-DN6)*λ/Δx","v":0},{"$f":"(DN6-DO6)*λ/Δx","v":0},{"$f":"(DO6-DP6)*λ/Δx","v":0},{"$f":"(DP6-DQ6)*λ/Δx","v":0},{"$f":"(DQ6-DR6)*λ/Δx","v":0},{"$f":"(DR6-DS6)*λ/Δx","v":0},{"$f":"(DS6-DT6)*λ/Δx","v":0},{"$f":"(DT6-DU6)*λ/Δx","v":0},{"$f":"(DU6-DV6)*λ/Δx","v":0},{"$f":"(DV6-DW6)*λ/Δx","v":0},{"$f":"(DW6-DX6)*λ/Δx","v":0},{"$f":"(DX6-DY6)*λ/Δx","v":0},{"$f":"(DY6-DZ6)*λ/Δx","v":0},{"$f":"(DZ6-EA6)*λ/Δx","v":0}]
[null,null,null,"tok doprava",null,{"$f":"(F6-G6)*λ/(Δx)","v":1312.8662533553213},1104.4228658500413,{"$f":"(H6-I6)*λ/(Δx)","v":830.39578848124631},{"$f":"(I6-J6)*λ/(Δx)","v":560.27433812757351},{"$f":"(J6-K6)*λ/(Δx)","v":340.86629980908396},{"$f":"(K6-L6)*λ/(Δx)","v":187.9843548717156},{"$f":"(L6-M6)*λ/(Δx)","v":94.479664809369552},{"$f":"(M6-N6)*λ/(Δx)","v":43.502901737719526},{"$f":"(N6-O6)*λ/(Δx)","v":18.443805242725162},{"$f":"(O6-P6)*λ/(Δx)","v":7.2342382689801354},{"$f":"(P6-Q6)*λ/(Δx)","v":2.6366665055845573},{"$f":"(Q6-R6)*λ/(Δx)","v":0.89660152942450111},{"$f":"(R6-S6)*λ/(Δx)","v":0.28552588720422989},{"$f":"(S6-T6)*λ/(Δx)","v":8.5443799769606699E-2},{"$f":"(T6-U6)*λ/(Δx)","v":2.4102923532751674E-2},{"$f":"(U6-V6)*λ/(Δx)","v":6.4278577769272269E-3},{"$f":"(V6-W6)*λ/(Δx)","v":1.6248819999020725E-3},{"$f":"(W6-X6)*λ/(Δx)","v":3.9029782200827873E-4},{"$f":"(X6-Y6)*λ/(Δx)","v":8.9282418613834125E-5},{"$f":"(Y6-Z6)*λ/(Δx)","v":1.9490955764922546E-5},{"$f":"(Z6-AA6)*λ/(Δx)","v":4.0684759028408735E-6},{"$f":"(AA6-AB6)*λ/(Δx)","v":8.1345483238237659E-7},{"$f":"(AB6-AC6)*λ/(Δx)","v":1.5603973224642687E-7},{"$f":"(AC6-AD6)*λ/(Δx)","v":2.8740174684571688E-8},{"$f":"(AD6-AE6)*λ/(Δx)","v":5.0194159939564997E-9},{"$f":"(AE6-AF6)*λ/(Δx)","v":1.1084466677857563E-9},{"$f":"(AF6-AG6)*λ/(Δx)","v":0},{"$f":"(AG6-AH6)*λ/(Δx)","v":0},{"$f":"(AH6-AI6)*λ/(Δx)","v":0},{"$f":"(AI6-AJ6)*λ/(Δx)","v":0},{"$f":"(AJ6-AK6)*λ/(Δx)","v":0},{"$f":"(AK6-AL6)*λ/(Δx)","v":0},{"$f":"(AL6-AM6)*λ/(Δx)","v":0},{"$f":"(AM6-AN6)*λ/(Δx)","v":0},{"$f":"(AN6-AO6)*λ/(Δx)","v":0},{"$f":"(AO6-AP6)*λ/(Δx)","v":0},{"$f":"(AP6-AQ6)*λ/(Δx)","v":0},{"$f":"(AQ6-AR6)*λ/(Δx)","v":0},{"$f":"(AR6-AS6)*λ/(Δx)","v":0},{"$f":"(AS6-AT6)*λ/(Δx)","v":0},{"$f":"(AT6-AU6)*λ/(Δx)","v":0},{"$f":"(AU6-AV6)*λ/(Δx)","v":0},{"$f":"(AV6-AW6)*λ/(Δx)","v":0},{"$f":"(AW6-AX6)*λ/(Δx)","v":0},{"$f":"(AX6-AY6)*λ/(Δx)","v":0},{"$f":"(AY6-AZ6)*λ/(Δx)","v":0},{"$f":"(AZ6-BA6)*λ/(Δx)","v":0},{"$f":"(BA6-BB6)*λ/(Δx)","v":0},{"$f":"(BB6-BC6)*λ/(Δx)","v":0},{"$f":"(BC6-BD6)*λ/(Δx)","v":0},{"$f":"(BD6-BE6)*λ/(Δx)","v":0},{"$f":"(BE6-BF6)*λ/(Δx)","v":0},{"$f":"(BF6-BG6)*λ/(Δx)","v":0},{"$f":"(BG6-BH6)*λ/(Δx)","v":0},{"$f":"(BH6-BI6)*λ/(Δx)","v":0},{"$f":"(BI6-BJ6)*λ/(Δx)","v":0},{"$f":"(BJ6-BK6)*λ/(Δx)","v":0},{"$f":"(BK6-BL6)*λ/(Δx)","v":0},{"$f":"(BL6-BM6)*λ/(Δx)","v":0},{"$f":"(BM6-BN6)*λ/(Δx)","v":0},{"$f":"(BN6-BO6)*λ/(Δx)","v":0},{"$f":"(BO6-BP6)*λ/(Δx)","v":0},{"$f":"(BP6-BQ6)*λ/(Δx)","v":0},{"$f":"(BQ6-BR6)*λ/(Δx)","v":0},{"$f":"(BR6-BS6)*λ/(Δx)","v":0},{"$f":"(BS6-BT6)*λ/(Δx)","v":0},{"$f":"(BT6-BU6)*λ/(Δx)","v":0},{"$f":"(BU6-BV6)*λ/(Δx)","v":0},{"$f":"(BV6-BW6)*λ/(Δx)","v":0},{"$f":"(BW6-BX6)*λ/(Δx)","v":0},{"$f":"(BX6-BY6)*λ/(Δx)","v":0},{"$f":"(BY6-BZ6)*λ/(Δx)","v":0},{"$f":"(BZ6-CA6)*λ/(Δx)","v":0},{"$f":"(CA6-CB6)*λ/(Δx)","v":0},{"$f":"(CB6-CC6)*λ/(Δx)","v":0},{"$f":"(CC6-CD6)*λ/(Δx)","v":0},{"$f":"(CD6-CE6)*λ/(Δx)","v":0},{"$f":"(CE6-CF6)*λ/(Δx)","v":0},{"$f":"(CF6-CG6)*λ/(Δx)","v":0},{"$f":"(CG6-CH6)*λ/(Δx)","v":0},{"$f":"(CH6-CI6)*λ/(Δx)","v":0},{"$f":"(CI6-CJ6)*λ/(Δx)","v":0},{"$f":"(CJ6-CK6)*λ/(Δx)","v":0},{"$f":"(CK6-CL6)*λ/(Δx)","v":0},{"$f":"(CL6-CM6)*λ/(Δx)","v":0},{"$f":"(CM6-CN6)*λ/(Δx)","v":0},{"$f":"(CN6-CO6)*λ/(Δx)","v":0},{"$f":"(CO6-CP6)*λ/(Δx)","v":0},{"$f":"(CP6-CQ6)*λ/(Δx)","v":0},{"$f":"(CQ6-CR6)*λ/(Δx)","v":0},{"$f":"(CR6-CS6)*λ/(Δx)","v":0},{"$f":"(CS6-CT6)*λ/(Δx)","v":0},{"$f":"(CT6-CU6)*λ/(Δx)","v":0},{"$f":"(CU6-CV6)*λ/(Δx)","v":0},{"$f":"(CV6-CW6)*λ/(Δx)","v":0},{"$f":"(CW6-CX6)*λ/(Δx)","v":0},{"$f":"(CX6-CY6)*λ/(Δx)","v":0},{"$f":"(CY6-CZ6)*λ/(Δx)","v":0},{"$f":"(CZ6-DA6)*λ/(Δx)","v":0},{"$f":"(DA6-DB6)*λ/(Δx)","v":0},{"$f":"(DB6-DC6)*λ/(Δx)","v":0},{"$f":"(DC6-DD6)*λ/(Δx)","v":0},{"$f":"(DD6-DE6)*λ/(Δx)","v":0},{"$f":"(DE6-DF6)*λ/(Δx)","v":0},{"$f":"(DF6-DG6)*λ/(Δx)","v":0},{"$f":"(DG6-DH6)*λ/(Δx)","v":0},{"$f":"(DH6-DI6)*λ/(Δx)","v":0},{"$f":"(DI6-DJ6)*λ/(Δx)","v":0},{"$f":"(DJ6-DK6)*λ/(Δx)","v":0},{"$f":"(DK6-DL6)*λ/(Δx)","v":0},{"$f":"(DL6-DM6)*λ/(Δx)","v":0},{"$f":"(DM6-DN6)*λ/(Δx)","v":0},{"$f":"(DN6-DO6)*λ/(Δx)","v":0},{"$f":"(DO6-DP6)*λ/(Δx)","v":0},{"$f":"(DP6-DQ6)*λ/(Δx)","v":0},{"$f":"(DQ6-DR6)*λ/(Δx)","v":0},{"$f":"(DR6-DS6)*λ/(Δx)","v":0},{"$f":"(DS6-DT6)*λ/(Δx)","v":0},{"$f":"(DT6-DU6)*λ/(Δx)","v":0},{"$f":"(DU6-DV6)*λ/(Δx)","v":0},{"$f":"(DV6-DW6)*λ/(Δx)","v":0},{"$f":"(DW6-DX6)*λ/(Δx)","v":0},{"$f":"(DX6-DY6)*λ/(Δx)","v":0},{"$f":"(DY6-DZ6)*λ/(Δx)","v":0},{"$f":"(DZ6-EA6)*λ/(Δx)","v":0},{"$f":"(EA6-EB6)*λ/(Δx/2)","v":0}]
["t max/m =",120,null,"Δθ - změna teploty",null,{"$f":"(F7-F8)/(ρ*cp*Δx)*Δt","v":7.1199027707700887E-5},1.894939886411637E-4,{"$f":"(H7-H8)/(ρ*cp*Δx)*Δt","v":2.4911552488072266E-4},2.4556495486697529E-4,1.994618530168087E-4,1.3898358630669852E-4,8.5004263693041864E-5,4.6342511883318208E-5,2.278099681363124E-5,1.0190515430677296E-5,4.1796106939959798E-6,1.5818772510545966E-6,5.5552331110933753E-7,1.8189280675874838E-7,5.5764432942595483E-8,1.6068241596204045E-8,4.3663416154774126E-9,1.1223492526307217E-9,2.7365036672222235E-10,6.3446784408101436E-11,1.4020436238256066E-11,2.9591100640531794E-12,5.9765009103268163E-13,1.1572687051077744E-13,2.1564326082377446E-14,3.5554266601552211E-15,1.0076787888961421E-15,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,{"$f":"(BT7-BT8)/(ρ*cp*Δx)*Δt","v":0},0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,{"$f":"(EA7-EA8)/(ρ*cp*Δx)*Δt","v":0}]
["čas/m =",{"$f":"IF(start,0,B10+Δt/60)","v":3.2280000000013138},null,"i+1.  iterace",40,{"$f":"F6+F9","v":37.324715076270415},32.275347781403191,{"$f":"H6+H9","v":28.027627149670039},24.833793643402924,22.678846239810408,21.367761531508759,20.644605798415853,20.28122247222597,20.113903619388587,20.042965906916567,20.015141913574336,20.005000888552857,20.001552421131993,20.000454244642746,20.000125614643633,20.000032911091584,20.000008188561672,20.000001939015519,20.00000043787005,20.000000094476132,20.000000019510917,20.000000003862933,20.000000000734261,20.000000000134108,20.000000000023569,20.000000000004263,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,{"$f":"BT6+BT9","v":20},20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,20,{"$f":"EA6+EA9","v":20},20]
[null,null,null,"x",0,{"$f":"Δx/2","v":2.5000000000000001E-3},{"$f":"F11+Δx","v":7.4999999999999997E-3},{"$f":"G11+Δx","v":1.2500000000000001E-2},{"$f":"H11+Δx","v":1.7500000000000002E-2},{"$f":"I11+Δx","v":2.2500000000000003E-2},{"$f":"J11+Δx","v":2.7500000000000004E-2},{"$f":"K11+Δx","v":3.2500000000000001E-2},{"$f":"L11+Δx","v":3.7499999999999999E-2},{"$f":"M11+Δx","v":4.2499999999999996E-2},{"$f":"N11+Δx","v":4.7499999999999994E-2},{"$f":"O11+Δx","v":5.2499999999999991E-2},{"$f":"P11+Δx","v":5.7499999999999989E-2},{"$f":"Q11+Δx","v":6.2499999999999986E-2},{"$f":"R11+Δx","v":6.7499999999999991E-2},{"$f":"S11+Δx","v":7.2499999999999995E-2},{"$f":"T11+Δx","v":7.7499999999999999E-2},{"$f":"U11+Δx","v":8.2500000000000004E-2},{"$f":"V11+Δx","v":8.7500000000000008E-2},{"$f":"W11+Δx","v":9.2500000000000013E-2},{"$f":"X11+Δx","v":9.7500000000000017E-2},{"$f":"Y11+Δx","v":0.10250000000000002},{"$f":"Z11+Δx","v":0.10750000000000003},{"$f":"AA11+Δx","v":0.11250000000000003},{"$f":"AB11+Δx","v":0.11750000000000003},{"$f":"AC11+Δx","v":0.12250000000000004},{"$f":"AD11+Δx","v":0.12750000000000003},{"$f":"AE11+Δx","v":0.13250000000000003},{"$f":"AF11+Δx","v":0.13750000000000004},{"$f":"AG11+Δx","v":0.14250000000000004},{"$f":"AH11+Δx","v":0.14750000000000005},{"$f":"AI11+Δx","v":0.15250000000000005},{"$f":"AJ11+Δx","v":0.15750000000000006},{"$f":"AK11+Δx","v":0.16250000000000006},{"$f":"AL11+Δx","v":0.16750000000000007},{"$f":"AM11+Δx","v":0.17250000000000007},{"$f":"AN11+Δx","v":0.17750000000000007},{"$f":"AO11+Δx","v":0.18250000000000008},{"$f":"AP11+Δx","v":0.18750000000000008},{"$f":"AQ11+Δx","v":0.19250000000000009},{"$f":"AR11+Δx","v":0.19750000000000009},{"$f":"AS11+Δx","v":0.2025000000000001},{"$f":"AT11+Δx","v":0.2075000000000001},{"$f":"AU11+Δx","v":0.21250000000000011},{"$f":"AV11+Δx","v":0.21750000000000011},{"$f":"AW11+Δx","v":0.22250000000000011},{"$f":"AX11+Δx","v":0.22750000000000012},{"$f":"AY11+Δx","v":0.23250000000000012},{"$f":"AZ11+Δx","v":0.23750000000000013},{"$f":"BA11+Δx","v":0.24250000000000013},{"$f":"BB11+Δx","v":0.24750000000000014},{"$f":"BC11+Δx","v":0.25250000000000011},{"$f":"BD11+Δx","v":0.25750000000000012},{"$f":"BE11+Δx","v":0.26250000000000012},{"$f":"BF11+Δx","v":0.26750000000000013},{"$f":"BG11+Δx","v":0.27250000000000013},{"$f":"BH11+Δx","v":0.27750000000000014},{"$f":"BI11+Δx","v":0.28250000000000014},{"$f":"BJ11+Δx","v":0.28750000000000014},{"$f":"BK11+Δx","v":0.29250000000000015},{"$f":"BL11+Δx","v":0.29750000000000015},{"$f":"BM11+Δx","v":0.30250000000000016},{"$f":"BN11+Δx","v":0.30750000000000016},{"$f":"BO11+Δx","v":0.31250000000000017},{"$f":"BP11+Δx","v":0.31750000000000017},{"$f":"BQ11+Δx","v":0.32250000000000018},{"$f":"BR11+Δx","v":0.32750000000000018},{"$f":"BS11+Δx","v":0.33250000000000018},{"$f":"BT11+Δx","v":0.33750000000000019},{"$f":"BU11+Δx","v":0.34250000000000019},{"$f":"BV11+Δx","v":0.3475000000000002},{"$f":"BW11+Δx","v":0.3525000000000002},{"$f":"BX11+Δx","v":0.35750000000000021},{"$f":"BY11+Δx","v":0.36250000000000021},{"$f":"BZ11+Δx","v":0.36750000000000022},{"$f":"CA11+Δx","v":0.37250000000000022},{"$f":"CB11+Δx","v":0.37750000000000022},{"$f":"CC11+Δx","v":0.38250000000000023},{"$f":"CD11+Δx","v":0.38750000000000023},{"$f":"CE11+Δx","v":0.39250000000000024},{"$f":"CF11+Δx","v":0.39750000000000024},{"$f":"CG11+Δx","v":0.40250000000000025},{"$f":"CH11+Δx","v":0.40750000000000025},{"$f":"CI11+Δx","v":0.41250000000000026},{"$f":"CJ11+Δx","v":0.41750000000000026},{"$f":"CK11+Δx","v":0.42250000000000026},{"$f":"CL11+Δx","v":0.42750000000000027},{"$f":"CM11+Δx","v":0.43250000000000027},{"$f":"CN11+Δx","v":0.43750000000000028},{"$f":"CO11+Δx","v":0.44250000000000028},{"$f":"CP11+Δx","v":0.44750000000000029},{"$f":"CQ11+Δx","v":0.45250000000000029},{"$f":"CR11+Δx","v":0.4575000000000003},{"$f":"CS11+Δx","v":0.4625000000000003},{"$f":"CT11+Δx","v":0.4675000000000003},{"$f":"CU11+Δx","v":0.47250000000000031},{"$f":"CV11+Δx","v":0.47750000000000031},{"$f":"CW11+Δx","v":0.48250000000000032},{"$f":"CX11+Δx","v":0.48750000000000032},{"$f":"CY11+Δx","v":0.49250000000000033},{"$f":"CZ11+Δx","v":0.49750000000000033},{"$f":"DA11+Δx","v":0.50250000000000028},{"$f":"DB11+Δx","v":0.50750000000000028},{"$f":"DC11+Δx","v":0.51250000000000029},{"$f":"DD11+Δx","v":0.51750000000000029},{"$f":"DE11+Δx","v":0.5225000000000003},{"$f":"DF11+Δx","v":0.5275000000000003},{"$f":"DG11+Δx","v":0.53250000000000031},{"$f":"DH11+Δx","v":0.53750000000000031},{"$f":"DI11+Δx","v":0.54250000000000032},{"$f":"DJ11+Δx","v":0.54750000000000032},{"$f":"DK11+Δx","v":0.55250000000000032},{"$f":"DL11+Δx","v":0.55750000000000033},{"$f":"DM11+Δx","v":0.56250000000000033},{"$f":"DN11+Δx","v":0.56750000000000034},{"$f":"DO11+Δx","v":0.57250000000000034},{"$f":"DP11+Δx","v":0.57750000000000035},{"$f":"DQ11+Δx","v":0.58250000000000035},{"$f":"DR11+Δx","v":0.58750000000000036},{"$f":"DS11+Δx","v":0.59250000000000036},{"$f":"DT11+Δx","v":0.59750000000000036},{"$f":"DU11+Δx","v":0.60250000000000037},{"$f":"DV11+Δx","v":0.60750000000000037},{"$f":"DW11+Δx","v":0.61250000000000038},{"$f":"DX11+Δx","v":0.61750000000000038},{"$f":"DY11+Δx","v":0.62250000000000039},{"$f":"DZ11+Δx","v":0.62750000000000039},{"$f":"EA11+Δx/2","v":0.63000000000000034}]
["hloubka penetrace",{"$f":"4*SQRT(λ/ρ/cp*$B10*60)","v":4.2790908125238045E-2},null,"analyticky",{"$f":"20+($E5-20)*(1-ERF(E11/SQRT(4*λ/ρ/cp*$B10*60)))","v":40},{"$f":"20+($E5-20)*(1-ERF(F11/SQRT(4*λ/ρ/cp*$B10*60)))","v":37.374991970272717},{"$f":"20+($E5-20)*(1-ERF(G11/SQRT(4*λ/ρ/cp*$B10*60)))","v":32.401544491714844},{"$f":"20+($E5-20)*(1-ERF(H11/SQRT(4*λ/ρ/cp*$B10*60)))","v":28.173417784309184},{"$f":"20+($E5-20)*(1-ERF(I11/SQRT(4*λ/ρ/cp*$B10*60)))","v":24.947663800131316},{"$f":"20+($E5-20)*(1-ERF(J11/SQRT(4*λ/ρ/cp*$B10*60)))","v":22.739120003555666},{"$f":"20+($E5-20)*(1-ERF(K11/SQRT(4*λ/ρ/cp*$B10*60)))","v":21.382149048869721},{"$f":"20+($E5-20)*(1-ERF(L11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.633940612367308},{"$f":"20+($E5-20)*(1-ERF(M11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.263720985187785},{"$f":"20+($E5-20)*(1-ERF(N11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.09933004332137},{"$f":"20+($E5-20)*(1-ERF(O11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.033825064714751},{"$f":"20+($E5-20)*(1-ERF(P11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.010401948849701},{"$f":"20+($E5-20)*(1-ERF(Q11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.002885988063493},{"$f":"20+($E5-20)*(1-ERF(R11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000721829909516},{"$f":"20+($E5-20)*(1-ERF(S11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000162648209592},{"$f":"20+($E5-20)*(1-ERF(T11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000032998707447},{"$f":"20+($E5-20)*(1-ERF(U11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000006025233411},{"$f":"20+($E5-20)*(1-ERF(V11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000989706219},{"$f":"20+($E5-20)*(1-ERF(W11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000146199227},{"$f":"20+($E5-20)*(1-ERF(X11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000019416078},{"$f":"20+($E5-20)*(1-ERF(Y11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000002317627},{"$f":"20+($E5-20)*(1-ERF(Z11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000000248598},{"$f":"20+($E5-20)*(1-ERF(AA11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000000023956},{"$f":"20+($E5-20)*(1-ERF(AB11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000000002075},{"$f":"20+($E5-20)*(1-ERF(AC11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000000000163},{"$f":"20+($E5-20)*(1-ERF(AD11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20.000000000000011},{"$f":"20+($E5-20)*(1-ERF(AE11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AF11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AG11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AH11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AI11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AJ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AK11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AL11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AM11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AN11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AO11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AP11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AQ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AR11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AS11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AT11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AU11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AV11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AW11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AX11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AY11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(AZ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BA11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BB11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BC11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BD11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BE11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BF11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BG11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BH11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BI11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BJ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BK11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BL11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BM11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BN11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BO11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BP11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BQ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BR11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BS11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BT11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BU11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BV11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BW11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BX11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BY11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(BZ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CA11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CB11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CC11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CD11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CE11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CF11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CG11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CH11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CI11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CJ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CK11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CL11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CM11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CN11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CO11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CP11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CQ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CR11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CS11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CT11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CU11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CV11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CW11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CX11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CY11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(CZ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DA11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DB11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DC11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DD11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DE11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DF11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DG11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DH11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DI11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DJ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DK11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DL11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DM11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DN11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DO11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DP11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DQ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DR11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DS11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DT11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DU11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DV11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DW11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DX11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DY11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(DZ11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(EA11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20},{"$f":"20+($E5-20)*(1-ERF(EB11/SQRT(4*λ/ρ/cp*$B10*60)))","v":20}]