- Task 1: Frame structure

Scheme of the stucture:

Plan:                                                                        		                                   Section A -A´:

Individual parameters (parameters in bold you can find on teacher‘s website):

Geometry:	R, a [m] – horizontal dimensions, h [m] – floor height, n – number of floors

Materials: 	Concrete – concrete class

Steel B 500 B (fyk  = 500 MPa)

Loads:		Other permanent load of typical floor (g-g0)floor,k [kN/m2]

Other permanent load of the roof (g-g0)roof,k [kN/m2]

Live load of typical floor qfloor,k [kN/m2]

Live load of the roof qroof,k = 0,75 kN/m2

Self-weight of the slab according to calculated depth

Another parameters: 	S – Exposure class related to environmental conditions

Z – Working life of the structure

Please work out:

1. 	Preliminary design of the dimensions of the structure (slab depth, dimensions of the beam, dimensions of the column).

2. 	Sketch of the structure.

3. 	Structural analysis:

  - Check of dimensions of the beam from preliminary design.

  - Calculation of bending moments, shear forces and normal forces in the frame using suitable software.

  - Design of reinforcement of the bottom frame.

4.	Reinforcement drawing of the bottom frame.

- Task 2: Two-way slab supported on four sides

Consider a reinforced concrete structure of multifloor building composed of walls, columns and continuous slabs. All spans of the slab are supported by walls or rigid beams on four sides. There are no openings in the slab.

Schemes of the structures:

Individual parameters (parameters in bold you can find on teacher‘s website):

Scheme:	given scheme, given beam (P) or wall (S)

Geometry:	a, b [m] – horizontal dimensions of the structure (a see 1st task), hs [mm] – depth of the slab

Materials: 	see 1st task

Loads:		see 1st task, values for typical floor (except the self weight, which will be different)

Please work out:

1.	Calculation of bending moments in the slab:

  - Using linear analysis (do not consider the effect of torsion moments caused by prevented lifting of the corners of the slab). Proceed from the assumption that the deflections in x and y directions are equal.

  - Using precalculated tables based on the theory of plasticity (effect of torsion moment is included).

2.	Check of given depth of the slab – consider bending moments from1b)

(if the slab is not checked, just propose the adjustment, do not recalculate bending moments!)

3. 	Calculation of loading of given beam or wall.

Task 3: Two-way slab supported on columns

Two-way slab supported on columns, edge beam in axes A and B, walls in axes 1 and 6.

Scheme of the structure:

parapet beam,

width 200 – 250 mm, height 800 – 1000 mm – your choice

Individual parameters (parameters in bold you can find on teacher‘s website):

Geometry:	a, b, d [m] – horizontal dimensions of the structure (a see 1st task, b see 2nd task), n – number of floors (see 1st task)

Materials:	see 1st task

Loads:		see 1st task, values for typical floor (except the self weight, which will be different)

Please work out:

1. 	Preliminary design of dimensions of load-bearing elements (slab, columns). Thickness of the wall will be estimated as 200 – 250 mm.

2. 	Sketch of the structure.

3. 	Structural analysis of the slab:

•	Bending moments in strips C and 3 using direct design method

•	Draw moment curves for both strips.

•	Design slab reinforcement (rebars) for calculated moments

•	Design punching reinforcement of column C3

4. 	Layout of reinforcement (separately for upper and lower layer for reinforcement).

Task 4: Reinforced concrete stiffening walls

For the structure from task 3, design sufficient number and proper positioning of reinforced concrete stiffening walls in longitudinal direction (stiffening in transversal direction is provided by exterior walls in rows 1 and 6).

Design the stiffening walls so that there is no tension in the foot of the walls when characteristic wind load and minimum vertical load is applied.

Individual parameters (parameters in bold you can find on teacher‘s website):

T – Terrain category

W – Wind load area

h [m] – floor height (see 1st task)

n – number of floors (see 1st task)

Please work out:

- Design of geometry (number and positioning of the walls)

- Sketch of reinforcement for a selected wall

Task 5: Reinforced concrete staircase

Design a staircase for the structure from task 1. Staircase will be supported by the reinforced concrete core. Adjust the span of the core if necessary (the distance between axes D and E need not to be equal to R)

Please work out:

1. 	Design of dimensions of reinforced concrete staircase (including details of flight-landing connections)

2. 	Design of reinforcement

- Sketch of reinforcement

Task 6: Structural drawing

Draw the structural drawing of a part of the structure from task 1 with the staircase from task 5 in 1:25 scale.

Task 7: Pad footing

Design a footing for the inner column of the frame from task 1. Use the resistance of the soil Rd ≈ 400 kPa.

Please work out:

1.	Plain concrete footing. Sketch of footing shape and reinforcement – starting reinforcement for column.

2.	Reinforced concrete footing. Drawing of shape of the footing and layout of reinforcement including list of reinforcement.